## results
File: | C:\_DATA\RECHERCHE\Calculations\LaserD - analyse image faisceau\v1 Aire eff etc from imageFaisc\analy_faisc_py_gui\-1.wcf
Analyzed on: | 2020-11-16 14h48m47s |  | Used no of imges: | 62 |  | Err. confidence | 0.6827
| Effective surface (px²) | Aeff slope | Aeff straightness | Max value (GL) | Background (GL) | Energy (GL) | Max pos X (px) | Max pos Y (px) | RG beam radius w1 (px) | RG Max value (GL) | RG Max pos X (px) | RG Max pos Y (px) | RG status | RG GOF | Gsot beam radius w1 (px) | Gsot Max value (GL) | Gsot status | Gsot GOF | EllG beam radius w1 (px) | EllG beam radius w2 (px) | EllG long axis angle (°) | EllG Max value (GL) | EllG Max pos X (px) | EllG Max pos Y (px) | EllG status | EllG GOF
Mean
Rel err.
Std err.
Min.
Max.
Median
Image number | Effective surface (px²) | Aeff slope | Aeff straightness | Max value (GL) | Background (GL) | Energy (GL) | Max pos X (px) | Max pos Y (px) | RG beam radius w1 (px) | RG Max value (GL) | RG Max pos X (px) | RG Max pos Y (px) | RG status | RG GOF | Gsot beam radius w1 (px) | Gsot Max value (GL) | Gsot status | Gsot GOF | EllG beam radius w1 (px) | EllG beam radius w2 (px) | EllG long axis angle (°) | EllG Max value (GL) | EllG Max pos X (px) | EllG Max pos Y (px) | EllG status | EllG GOF
1 | 329.2407 | -1.0075e-05 |  | 26539.047 | 783.0341 | 8789166.4911 | 79.8309 | 71.9461 | 12.4636 | 25990.1573 | 79.697 | 71.9855 | OK: 1 |  | 12.1116 | 26598.6381 | OK: 2 |  | 13.5164 | 13.5164 | -61.1514 | 26432.3302 | 79.7111 | 71.9585 | OK: 1
2 | 317.8744 | 1.6914e-06 |  | 26322.6148 | 884.0723 | 8383198.5276 | 79.1098 | 71.7144 | 12.5597 | 25561.9569 | 79.151 | 71.7586 | OK: 1 |  | 12.1093 | 26206.6899 | OK: 3 |  | 13.4442 | 13.4442 | -61.5557 | 25959.4008 | 79.1527 | 71.757 | OK: 1
3 | 334.3512 | -4.3006e-06 |  | 25534.9436 | 645.6812 | 8549422.9953 | 77.7515 | 71.7476 | 12.7249 | 25321.0738 | 77.6785 | 71.7527 | OK: 1 |  | 12.368 | 25914.364 | OK: 1 |  | 13.7165 | 13.7165 | -66.104 | 25717.5192 | 77.6933 | 71.7469 | OK: 1
4 | 234.5642 | -1.1937e-05 |  | 25296.8778 | 987.9064 | 5798598.1566 | 78.1123 | 71.4697 | 12.4839 | 25177.1508 | 78.2088 | 71.4505 | OK: 1 |  | 12.0511 | 25856.4891 | OK: 2 |  | 13.5287 | 13.5287 | -64.4695 | 25608.4193 | 78.1933 | 71.4626 | OK: 1
7 | 308.6611 | -2.4842e-06 |  | 25686.4466 | 907.9718 | 8010156.6004 | 77.9256 | 71.4672 | 12.7248 | 25354.8352 | 77.8806 | 71.3147 | OK: 1 |  | 12.2199 | 26115.4026 | OK: 3 |  | 13.7735 | 13.7735 | -58.8219 | 25920.2517 | 77.8876 | 71.3103 | OK: 1
8 | 298.4987 | -3.6678e-06 |  | 26927.902 | 871.2081 | 8132321.5939 | 77.2683 | 70.9947 | 12.5139 | 26951.7754 | 77.3333 | 71.0798 | OK: 1 |  | 12.0383 | 27744.9017 | OK: 1 |  | 13.5517 | 13.5517 | -60.0316 | 27514.3409 | 77.3503 | 71.0829 | OK: 1
9 | 332.3419 | -5.6344e-06 |  | 26804.7093 | 810.6125 | 8932590.479 | 77.9278 | 70.9142 | 12.4005 | 26748.7803 | 77.879 | 70.8907 | OK: 1 |  | 12.0317 | 27409.4939 | OK: 2 |  | 13.4289 | 13.4289 | -58.9351 | 27194.4464 | 77.8948 | 70.8853 | OK: 1
10 | 313.4348 | -6.1709e-07 |  | 27587.613 | 492.7243 | 8694542.5133 | 77.8088 | 70.3184 | 12.4776 | 27290.0397 | 77.826 | 70.4132 | OK: 1 |  | 12.0354 | 28071.4151 | OK: 3 |  | 13.4987 | 13.4987 | -56.6629 | 27871.1302 | 77.8255 | 70.4003 | OK: 1
11 | 337.2705 | -2.5372e-07 |  | 27812.9544 | 807.6923 | 9490713.2047 | 78.1301 | 70.1242 | 12.5687 | 27338.9302 | 78.1136 | 70.1892 | OK: 1 |  | 12.1301 | 28085.9884 | OK: 3 |  | 13.5727 | 13.5727 | -57.7085 | 27911.6374 | 78.1214 | 70.1922 | OK: 1
12 | 322.445 | -5.7683e-07 |  | 27957.5291 | 455.3326 | 9042142.9558 | 78.6018 | 70.9118 | 12.6045 | 27666.2565 | 78.5419 | 71.2592 | OK: 1 |  | 12.1092 | 28480.1377 | OK: 1 |  | 13.6399 | 13.6399 | -60.0971 | 28265.1766 | 78.569 | 71.2386 | OK: 1
13 | 339.2165 | -3.0247e-06 |  | 26811.4853 | 510.1763 | 9101111.4409 | 79.3339 | 70.1197 | 12.6268 | 26594.7678 | 79.3391 | 70.2317 | OK: 1 |  | 12.1937 | 27315.963 | OK: 3 |  | 13.6734 | 13.6734 | -58.739 | 27067.3369 | 79.3645 | 70.2094 | OK: 1
14 | 305.8955 | 5.4283e-06 |  | 25894.2058 | 889.3368 | 8037470.7724 | 79.025 | 70.874 | 12.4992 | 25940.6373 | 78.8383 | 70.8293 | OK: 1 |  | 12.1907 | 26529.2871 | OK: 2 |  | 13.5416 | 13.5416 | -59.3858 | 26376.3086 | 78.8592 | 70.8357 | OK: 1
15 | 328.9269 | -5.7765e-06 |  | 27637.4313 | 894.5465 | 9098951.0139 | 78.8074 | 70.4286 | 12.6074 | 27097.9092 | 78.8451 | 70.36 | OK: 1 |  | 12.1303 | 27849.3515 | OK: 2 |  | 13.5866 | 13.5866 | -60.1099 | 27668.0955 | 78.8567 | 70.3396 | OK: 1
16 | 313.6698 | -7.7584e-06 |  | 27564.4759 | 538.7548 | 8623218.8765 | 78.9883 | 70.5514 | 12.4944 | 27423.8867 | 78.8472 | 70.5813 | OK: 1 |  | 12.0976 | 28127.0801 | OK: 3 |  | 13.4596 | 13.4596 | -59.432 | 27914.648 | 78.8414 | 70.5718 | OK: 1
17 | 210.2689 | -1.4101e-05 |  | 26481.2267 | 995.6505 | 5413791.8326 | 78.7424 | 71.1935 | 12.4583 | 26428.482 | 78.6719 | 71.2283 | OK: 1 |  | 12.0191 | 27169.8152 | OK: 3 |  | 13.4513 | 13.4513 | -62.0639 | 26959.3838 | 78.6863 | 71.2173 | OK: 1
18 | 347.7523 | -1.5718e-05 |  | 25044.2169 | 765.8294 | 8686140.8058 | 78.8593 | 70.851 | 12.6575 | 25093.969 | 78.7075 | 70.9405 | OK: 1 |  | 12.2324 | 25779.3856 | OK: 1 |  | 13.7411 | 13.7411 | -58.2055 | 25581.2088 | 78.7255 | 70.9218 | OK: 1
19 | 355.3518 | -5.9457e-06 |  | 25965.3585 | 754.1689 | 9220962.9126 | 78.3478 | 70.6651 | 12.7109 | 25659.4551 | 78.389 | 70.7315 | OK: 1 |  | 12.3142 | 26321.9985 | OK: 2 |  | 13.7678 | 13.7678 | -61.4932 | 26156.3184 | 78.3748 | 70.7337 | OK: 1
20 | 416.6648 | 5.4326e-06 |  | 25401.8346 | 720.3705 | 10771662.5207 | 78.382 | 70.8313 | 12.8564 | 25071.7341 | 78.4204 | 70.9356 | OK: 1 |  | 12.3853 | 25764.9813 | OK: 3 |  | 13.8459 | 13.8459 | -62.3998 | 25552.9438 | 78.4286 | 70.9113 | OK: 1
21 | 348.3365 | -5.3408e-06 |  | 25906.3138 | 464.1082 | 9059920.6987 | 78.7817 | 71.3615 | 12.6709 | 25765.8054 | 78.8202 | 71.4667 | OK: 1 |  | 12.2697 | 26424.6792 | OK: 1 |  | 13.7006 | 13.7006 | -62.9727 | 26223.1466 | 78.799 | 71.4705 | OK: 1
22 | 334.298 | -3.3647e-06 |  | 25921.3721 | 496.4754 | 8687245.2209 | 79.2097 | 71.2864 | 12.5635 | 25538.3722 | 79.2352 | 71.5633 | OK: 1 |  | 12.1895 | 26167.2039 | OK: 3 |  | 13.5787 | 13.5787 | -63.3122 | 25944.193 | 79.2386 | 71.5491 | OK: 1
23 | 311.905 | -1.0403e-05 |  | 24897.4109 | 829.1702 | 7765656.7819 | 78.9025 | 70.8673 | 12.512 | 24752.7032 | 78.9451 | 70.8496 | OK: 1 |  | 12.0843 | 25421.1368 | OK: 1 |  | 13.4466 | 13.4466 | -62.716 | 25156.0127 | 78.9625 | 70.8275 | OK: 1
24 | 357.5421 | -4.7205e-06 |  | 25788.504 | 910.0348 | 9245812.3188 | 79.6537 | 70.4629 | 12.6514 | 25559.5426 | 79.493 | 70.5525 | OK: 1 |  | 12.2056 | 26255.5529 | OK: 3 |  | 13.6094 | 13.6094 | -66.1119 | 25966.7465 | 79.5056 | 70.5224 | OK: 1
25 | 337.2806 | -1.6228e-06 |  | 25430.2807 | 853.6368 | 8599220.7468 | 79.5869 | 69.935 | 12.6162 | 25388.6495 | 79.5683 | 69.9814 | OK: 1 |  | 12.2874 | 25964.0835 | OK: 2 |  | 13.6054 | 13.6054 | -65.0388 | 25771.2527 | 79.591 | 69.968 | OK: 1
26 | 361.5832 | 6.3839e-06 |  | 25178.905 | 723.3179 | 9280762.4155 | 79.1441 | 70.3411 | 12.6104 | 25250.7889 | 79.2814 | 70.2953 | OK: 1 |  | 12.2363 | 25902.3552 | OK: 1 |  | 13.696 | 13.696 | -65.7749 | 25681.5148 | 79.279 | 70.2694 | OK: 1
27 | 376.1207 | -1.3584e-05 |  | 25949.867 | 782.8278 | 9853932.7633 | 78.0977 | 70.1716 | 12.6801 | 25458.1444 | 78.1572 | 70.0881 | OK: 1 |  | 12.2898 | 26092.2226 | OK: 3 |  | 13.6338 | 13.6338 | -65.6514 | 25851.6759 | 78.1637 | 70.0723 | OK: 1
28 | 327.5902 | -3.7651e-06 |  | 26313.0051 | 496.3577 | 8612179.2935 | 79.5621 | 71.7602 | 12.545 | 25908.3817 | 79.3122 | 72.0018 | OK: 1 |  | 12.1812 | 26520.1969 | OK: 3 |  | 13.4887 | 13.4887 | -69.3652 | 26289.7436 | 79.2946 | 71.9759 | OK: 1
29 | 307.2647 | -2.9323e-06 |  | 24796.2216 | 830.6336 | 7708106.2429 | 80.2157 | 71.4711 | 12.7032 | 24457.01 | 80.1867 | 71.4402 | OK: 1 |  | 12.2191 | 25151.0264 | OK: 2 |  | 13.7733 | 13.7733 | -67.0717 | 24862.7764 | 80.2037 | 71.4032 | OK: 1
30 | 348.6564 | -1.4442e-06 |  | 25379.2598 | 928.9994 | 8860312.235 | 80.2646 | 71.6783 | 12.7364 | 24927.2137 | 80.3377 | 71.8494 | OK: 1 |  | 12.2651 | 25630.7062 | OK: 3 |  | 13.7822 | 13.7822 | -66.775 | 25367.7875 | 80.3662 | 71.8282 | OK: 1
31 | 355.3968 | -4.5692e-06 |  | 26026.359 | 521.8516 | 9262589.477 | 79.9428 | 71.8113 | 12.7178 | 25566.8907 | 80.1351 | 71.9499 | OK: 1 |  | 12.3173 | 26210.9146 | OK: 3 |  | 13.8268 | 13.8268 | -68.5227 | 25966.7218 | 80.1517 | 71.9231 | OK: 1
32 | 330.3217 | -1.9593e-06 |  | 26287.7753 | 732.61 | 8739328.7309 | 79.6399 | 72.4695 | 12.6323 | 25511.155 | 79.5499 | 72.5757 | OK: 1 |  | 12.2662 | 26082.3769 | OK: 2 |  | 13.6169 | 13.6169 | -63.811 | 25887.3479 | 79.5456 | 72.5725 | OK: 1
33 | 344.2981 | 8.8353e-07 |  | 26443.9311 | 914.2247 | 9136524.5546 | 79.1911 | 71.5989 | 12.6482 | 25953.8508 | 79.015 | 71.5426 | OK: 1 |  | 12.2771 | 26570.5383 | OK: 1 |  | 13.6484 | 13.6484 | -65.2628 | 26360.5724 | 79.0351 | 71.5259 | OK: 1
34 | 334.781 | -6.0185e-06 |  | 26218.9661 | 478.9897 | 8764399.7357 | 79.3157 | 70.635 | 12.4812 | 26189.2436 | 79.3782 | 70.6981 | OK: 1 |  | 12.0905 | 26869.585 | OK: 1 |  | 13.5107 | 13.5107 | -64.3966 | 26576.1179 | 79.3877 | 70.6793 | OK: 1
35 | 301.3444 | -5.136e-06 |  | 25673.9986 | 894.5156 | 7785343.1876 | 80.2155 | 70.6409 | 12.5673 | 25434.3368 | 80.1268 | 70.7599 | OK: 1 |  | 12.1743 | 26053.5736 | OK: 1 |  | 13.5199 | 13.5199 | -62.2874 | 25858.3082 | 80.1337 | 70.7432 | OK: 1
36 | 395.0287 | 5.8624e-06 |  | 27039.0666 | 828.0003 | 10821583.3841 | 79.6057 | 70.2257 | 12.7345 | 26461.1159 | 79.4397 | 70.2705 | OK: 1 |  | 12.3482 | 27114.4882 | OK: 3 |  | 13.7545 | 13.7545 | -64.8132 | 26944.3595 | 79.4413 | 70.2624 | OK: 1
37 | 356.8347 | -4.2273e-06 |  | 26917.295 | 576.1527 | 9639190.5923 | 78.4658 | 69.9722 | 12.7014 | 26678.1258 | 78.4826 | 70.0759 | OK: 1 |  | 12.3174 | 27338.4537 | OK: 1 |  | 13.6533 | 13.6533 | -63.1686 | 27156.9367 | 78.507 | 70.057 | OK: 1
38 | 359.3218 | -1.023e-05 |  | 27131.9106 | 848.2624 | 9781044.8666 | 79.1703 | 70.4646 | 12.6183 | 26831.8681 | 79.2568 | 70.4576 | OK: 1 |  | 12.0484 | 27701.111 | OK: 1 |  | 13.6139 | 13.6139 | -63.4564 | 27339.1152 | 79.2669 | 70.4316 | OK: 1
39 | 349.7163 | -3.4572e-06 |  | 26714.0213 | 491.8247 | 9420002.5965 | 79.1404 | 70.1693 | 12.5626 | 26496.7152 | 79.2856 | 70.0499 | OK: 1 |  | 12.0835 | 27247.3629 | OK: 3 |  | 13.516 | 13.516 | -60.6769 | 26977.1133 | 79.3079 | 70.0447 | OK: 1
40 | 357.9035 | -2.4702e-06 |  | 28000.4589 | 504.0864 | 10064538.8447 | 79.2963 | 69.7536 | 12.6163 | 27932.8473 | 79.2132 | 69.8486 | OK: 1 |  | 12.1502 | 28733.434 | OK: 1 |  | 13.5806 | 13.5806 | -61.455 | 28464.1521 | 79.2363 | 69.8276 | OK: 1
41 | 380.2186 | -1.6452e-05 |  | 27621.5786 | 798.0253 | 10557222.6391 | 78.6708 | 69.6088 | 12.7437 | 27255.9271 | 78.7282 | 69.612 | OK: 1 |  | 12.3236 | 27971.4911 | OK: 2 |  | 13.7935 | 13.7935 | -63.4067 | 27811.6013 | 78.7224 | 69.5884 | OK: 1
42 | 360.9508 | -8.2947e-06 |  | 26492.5371 | 593.4438 | 9587391.8346 | 78.3408 | 70.1424 | 12.6233 | 26292.1223 | 78.4455 | 70.1445 | OK: 1 |  | 12.2505 | 26945.7918 | OK: 1 |  | 13.6618 | 13.6618 | -61.0316 | 26748.2989 | 78.4631 | 70.1436 | OK: 1
43 | 341.3999 | -4.4446e-06 |  | 27148.6919 | 744.4912 | 9281833.3867 | 78.0598 | 69.7456 | 12.472 | 27005.471 | 78.0595 | 69.7603 | OK: 1 |  | 12.0335 | 27758.5526 | OK: 1 |  | 13.4477 | 13.4477 | -64.5704 | 27462.5157 | 78.077 | 69.7331 | OK: 1
44 | 287.4227 | 1.9882e-06 |  | 26241.7251 | 920.5884 | 7537006.122 | 78.2574 | 70.2801 | 12.4683 | 25731.3947 | 78.3848 | 70.214 | OK: 1 |  | 12.0986 | 26352.502 | OK: 1 |  | 13.4162 | 13.4162 | -66.2309 | 26146.9022 | 78.3974 | 70.1991 | OK: 1
45 | 402.901 | 8.1783e-07 |  | 25373.6416 | 699.7355 | 10341242.8598 | 77.8272 | 70.5507 | 12.6865 | 24966.732 | 77.8299 | 70.7921 | OK: 1 |  | 12.2962 | 25565.9056 | OK: 1 |  | 13.6475 | 13.6475 | -68.5601 | 25316.1725 | 77.8454 | 70.764 | OK: 1
46 | 356.3595 | -7.563e-07 |  | 26638.3128 | 487.1064 | 9537094.3161 | 77.3948 | 70.5589 | 12.6191 | 26335.1233 | 77.3607 | 70.6077 | OK: 1 |  | 12.3076 | 26917.889 | OK: 2 |  | 13.6339 | 13.6339 | -66.5772 | 26735.4505 | 77.3614 | 70.5958 | OK: 1
47 | 297.5885 | -1.5031e-06 |  | 25824.1684 | 953.1732 | 7657871.8692 | 78.2128 | 70.6229 | 12.652 | 25612.6634 | 78.1458 | 70.5299 | OK: 1 |  | 12.3083 | 26231.8159 | OK: 1 |  | 13.6857 | 13.6857 | -64.5768 | 26009.0773 | 78.1611 | 70.5044 | OK: 1
48 | 327.7613 | -6.3265e-06 |  | 26566.5664 | 872.2839 | 8690423.2768 | 78.6257 | 71.4669 | 12.5967 | 26339.7858 | 78.682 | 71.6753 | OK: 1 |  | 12.2406 | 26937.1464 | OK: 2 |  | 13.5826 | 13.5826 | -61.6746 | 26760.7413 | 78.6833 | 71.6771 | OK: 1
49 | 338.1008 | -6.9865e-07 |  | 26213.0397 | 765.8276 | 8906451.459 | 78.608 | 72.0023 | 12.656 | 25861.0196 | 78.3979 | 72.0478 | OK: 1 |  | 12.2723 | 26498.3074 | OK: 2 |  | 13.7256 | 13.7256 | -62.2538 | 26252.1902 | 78.4143 | 72.0449 | OK: 1
50 | 310.9844 | -9.1279e-06 |  | 26171.5679 | 816.3005 | 8107917.4524 | 78.3579 | 71.7359 | 12.5064 | 25953.2035 | 78.3939 | 71.6949 | OK: 1 |  | 12.1601 | 26551.2036 | OK: 1 |  | 13.515 | 13.515 | -62.7128 | 26335.5595 | 78.4116 | 71.6912 | OK: 1
51 | 340.3853 | -2.7469e-06 |  | 28204.2417 | 816.6975 | 9625629.905 | 77.2597 | 70.6628 | 12.5202 | 28186.3095 | 77.2753 | 70.8322 | OK: 1 |  | 12.1247 | 28883.4601 | OK: 1 |  | 13.4603 | 13.4603 | -63.0666 | 28677.8185 | 77.3031 | 70.8117 | OK: 1
52 | 343.9067 | -7.8358e-06 |  | 27416.7834 | 506.2097 | 9437776.5415 | 77.9464 | 70.6402 | 12.5183 | 27181.4553 | 77.9515 | 70.865 | OK: 1 |  | 12.1169 | 27878.5277 | OK: 1 |  | 13.452 | 13.452 | -59.0238 | 27637.3814 | 77.9708 | 70.8563 | OK: 1
53 | 344.3086 | 1.5532e-06 |  | 27320.7664 | 669.5167 | 9524949.4557 | 79.2162 | 70.9381 | 12.5924 | 26994.9663 | 79.0972 | 70.8855 | OK: 1 |  | 12.1672 | 27695.1695 | OK: 1 |  | 13.5842 | 13.5842 | -60.5866 | 27530.5836 | 79.0944 | 70.8867 | OK: 3
54 | 335.3638 | -5.4745e-06 |  | 27272.9404 | 718.5645 | 9181399.5191 | 79.1325 | 71.9059 | 12.5109 | 26798.087 | 79.0401 | 71.8753 | OK: 1 |  | 12.1601 | 27422.0992 | OK: 3 |  | 13.4704 | 13.4704 | -62.1534 | 27232.8682 | 79.055 | 71.8634 | OK: 1
55 | 351.7438 | -2.1047e-06 |  | 25867.7022 | 466.0243 | 9123479.3482 | 79.0042 | 71.2378 | 12.6248 | 25845.7531 | 78.8353 | 71.2941 | OK: 1 |  | 12.1487 | 26577.1221 | OK: 1 |  | 13.5871 | 13.5871 | -59.2851 | 26307.5237 | 78.8477 | 71.2771 | OK: 1
56 | 227.1349 | -9.6705e-06 |  | 26528.085 | 1040.2551 | 5872821.091 | 78.465 | 71.3148 | 12.4347 | 26186.2064 | 78.5355 | 71.4161 | OK: 1 |  | 12.1134 | 26763.687 | OK: 2 |  | 13.468 | 13.468 | -62.6666 | 26543.1555 | 78.5397 | 71.3978 | OK: 1
57 | 354.3102 | -1.0205e-05 |  | 27725.8132 | 707.0258 | 9949722.414 | 77.6547 | 71.0306 | 12.555 | 27375.6671 | 77.6963 | 71.0549 | OK: 1 |  | 12.2178 | 27997.8089 | OK: 3 |  | 13.5257 | 13.5257 | -64.2722 | 27801.4887 | 77.7213 | 71.0376 | OK: 1
58 | 351.253 | -6.8291e-07 |  | 26599.7454 | 496.887 | 9361960.7535 | 78.1235 | 71.2627 | 12.581 | 26492.8504 | 78.0235 | 71.3833 | OK: 1 |  | 12.2137 | 27125.7947 | OK: 1 |  | 13.5634 | 13.5634 | -65.5943 | 26913.0082 | 78.0253 | 71.3692 | OK: 1
59 | 238.3504 | -1.3432e-05 |  | 25559.5893 | 960.7291 | 5956276.8524 | 78.2992 | 71.9477 | 12.5042 | 25281.1598 | 78.2602 | 71.9638 | OK: 1 |  | 12.16 | 25856.1991 | OK: 1 |  | 13.5319 | 13.5319 | -60.3931 | 25698.9669 | 78.257 | 71.9613 | OK: 1
60 | 349.4587 | -1.6829e-05 |  | 27050.8181 | 839.9891 | 9478499.7029 | 78.215 | 71.3859 | 12.5978 | 27001.0989 | 78.3165 | 71.389 | OK: 1 |  | 12.1901 | 27692.2974 | OK: 3 |  | 13.5911 | 13.5911 | -60.1364 | 27473.641 | 78.32 | 71.3843 | OK: 1
61 | 354.6395 | -2.2815e-06 |  | 27117.8778 | 639.1715 | 9651122.3628 | 78.9005 | 70.909 | 12.7159 | 26687.3495 | 78.8633 | 71.0446 | OK: 1 |  | 12.261 | 27396.7622 | OK: 2 |  | 13.6759 | 13.6759 | -62.7622 | 27169.0596 | 78.8762 | 71.0352 | OK: 1
62 | 347.7569 | -5.8271e-06 |  | 25049.6586 | 894.8583 | 8810003.4494 | 79.2126 | 72.1788 | 12.7185 | 24827.1085 | 79.213 | 72.2326 | OK: 1 |  | 12.2485 | 25509.9454 | OK: 1 |  | 13.6341 | 13.6341 | -60.8827 | 25300.7722 | 79.2105 | 72.2267 | OK: 1
63 | 348.1939 | -9.3404e-06 |  | 25514.9676 | 736.2457 | 8879453.2207 | 78.7843 | 70.252 | 12.7172 | 25300.9464 | 78.6947 | 70.5203 | OK: 1 |  | 12.2777 | 26006.3577 | OK: 3 |  | 13.7414 | 13.7414 | -65.1143 | 25773.444 | 78.7013 | 70.5069 | OK: 1
64 | 324.4456 | -4.2711e-06 |  | 26408.9094 | 558.91 | 8576399.2397 | 78.8178 | 71.2985 | 12.6168 | 25950.4562 | 78.7603 | 71.3784 | OK: 1 |  | 12.1942 | 26608.3299 | OK: 2 |  | 13.5591 | 13.5591 | -64.0713 | 26395.0755 | 78.782 | 71.3445 | OK: 1

## comments
Describes how the numbers in the data sheet were obtained.
File information:
| Location of treated file: | C:/_DATA/RECHERCHE/Calculations/LaserD - analyse image faisceau/v1 Aire eff etc from imageFaisc/analy_faisc_py_gui
| File type: | wcf
| File name: | -1
Background correction method used:
| Dark image number: | No dark image used
Size of analyzed image (x, y in px):
Symmetric auto-crop was enabled.
Horizontal Aeff-curve fit
Maximum smoothing method used for Aeff:
Cap fit 90%
Analytical model-beams fitted to the data:
| Model name | Round G. | Same SOT G. | Ell. G.
| Vert. fit limit (rel.) | 0.4 | 0.5 | 0.4
Relative values (rel.) in GL (grey levels)
are defined with respect to the maximum used for the Aeff calculation.
Thus the absolute vertical fit limit depends slightly on the
maximum smoothing method chosen for the Aeff calculation.
If the Aeff max is taken from the fit, the vertical fit limit depends
on the max obtained by the method displayed on the combobox on tab2.