## results
File: | C:\_DATA\RECHERCHE\Calculations\LaserD - analyse image faisceau\v1 Aire eff etc from imageFaisc\analy_faisc_py_gui\tif_data_210118_BP_f15cm\26_zp02_50\105807 - 2021-01-18-20-05-38.tiff
Analyzed on: | 2021-2-10 18h53m7s |  | Used no of imges: | 19 |  | Err. confidence | 0.6827
| Effective surface (px²) | Aeff slope | Aeff straightness | Max value (GL) | Background (GL) | Energy (GL) | Max pos X (px) | Max pos Y (px) | RG beam radius w1 (px) | RG Max value (GL) | RG Max pos X (px) | RG Max pos Y (px) | RG status | RG GOF
Mean
Rel err.
Std err.
Min.
Max.
Median
Image number | Effective surface (px²) | Aeff slope | Aeff straightness | Max value (GL) | Background (GL) | Energy (GL) | Max pos X (px) | Max pos Y (px) | RG beam radius w1 (px) | RG Max value (GL) | RG Max pos X (px) | RG Max pos Y (px) | RG status | RG GOF
1 | 115.1523 | 7.3185e-07 |  | 51825.9385 | 13.084 | 5966993.4926 | 203.1489 | 191.4988 | 8.3971 | 51538.866 | 203.1617 | 191.5264 | OK: 1
2 | 115.1523 | 7.3185e-07 |  | 51825.9385 | 13.084 | 5966993.4926 | 203.1489 | 191.4988 | 8.3971 | 51538.8659 | 203.1617 | 191.5264 | OK: 1
3 | 114.7036 | 6.0569e-07 |  | 51725.7467 | 12.8975 | 5935876.1722 | 202.8786 | 191.501 | 8.4682 | 51368.9061 | 202.8266 | 191.5354 | OK: 3
4 | 117.0895 | 5.7276e-06 |  | 51057.4298 | 12.6992 | 5977233.9513 | 202.7161 | 191.8616 | 8.4684 | 50593.6834 | 202.6228 | 191.9223 | OK: 3
5 | 114.8896 | -4.8123e-06 |  | 51695.2851 | 12.9089 | 5938622.2247 | 202.932 | 191.7438 | 8.4145 | 51128.1422 | 202.9201 | 191.7339 | OK: 1
6 | 116.6276 | 3.8068e-06 |  | 51152.9278 | 12.7246 | 5968727.1452 | 203.0789 | 191.5201 | 8.4475 | 51062.0074 | 202.9893 | 191.5469 | OK: 3
7 | 115.8562 | 4.1125e-06 |  | 51642.7643 | 12.736 | 5983137.1976 | 203.2906 | 191.6177 | 8.3681 | 51570.9182 | 203.2691 | 191.6371 | OK: 1
8 | 117.8739 | 6.1767e-06 |  | 50883.6915 | 12.5942 | 6001494.3905 | 203.168 | 191.6793 | 8.4494 | 50943.3848 | 203.1309 | 191.667 | OK: 1
9 | 117.0538 | 5.0331e-06 |  | 51096.2717 | 12.7986 | 5982272.4859 | 203.4131 | 191.3495 | 8.3531 | 51292.5461 | 203.3498 | 191.478 | OK: 1
10 | 116.6188 | -5.8663e-06 |  | 51148.7469 | 12.9614 | 5964084.005 | 203.3306 | 191.4307 | 8.4406 | 51256.3937 | 203.3163 | 191.4978 | OK: 3
11 | 116.053 | 6.2159e-06 |  | 51480.7642 | 12.645 | 5977776.7782 | 203.1389 | 190.9644 | 8.3246 | 51314.3881 | 203.05 | 191.0759 | OK: 1
12 | 115.9854 | -8.8794e-07 |  | 51227.6983 | 12.9544 | 5943414.4343 | 203.611 | 191.5344 | 8.322 | 51546.7101 | 203.5145 | 191.569 | OK: 3
13 | 116.7135 | -1.0627e-06 |  | 51017.0658 | 12.8888 | 5954955.2088 | 203.349 | 191.4208 | 8.4478 | 51173.7765 | 203.3353 | 191.5078 | OK: 1
14 | 116.5102 | 1.2087e-07 |  | 51361.6834 | 12.6673 | 5986794.0349 | 203.158 | 191.533 | 8.387 | 51454.2057 | 203.1389 | 191.5598 | OK: 3
15 | 115.8361 | 3.6957e-07 |  | 51659.4679 | 12.7754 | 5983953.5329 | 203.061 | 191.201 | 8.326 | 51758.4896 | 203.0232 | 191.3789 | OK: 1
16 | 115.2585 | 3.491e-07 |  | 51747.9277 | 12.8371 | 5964539.1248 | 203.0637 | 191.4485 | 8.4022 | 51611.9371 | 202.9595 | 191.5033 | OK: 1
17 | 116.3444 | 5.5927e-07 |  | 51571.8816 | 12.6752 | 5999901.302 | 203.2373 | 191.5287 | 8.3491 | 51962.6827 | 203.1308 | 191.5702 | OK: 1
18 | 116.5052 | 2.3575e-06 |  | 51388.6478 | 12.8043 | 5991213.5121 | 203.0389 | 191.5363 | 8.4255 | 51229.3558 | 202.99 | 191.5313 | OK: 3
19 | 115.0079 | -5.6819e-06 |  | 51726.2098 | 12.7868 | 5948763.5853 | 203.1358 | 191.4588 | 8.3909 | 51734.823 | 203.0821 | 191.4867 | OK: 3

## comments
Describes how the numbers in the data sheet were obtained.
File information:
| Location of treated file: | C:/_DATA/RECHERCHE/Calculations/LaserD - analyse image faisceau/v1 Aire eff etc from imageFaisc/analy_faisc_py_gui/tif_data_210118_BP_f15cm/26_zp02_50
| File type: | tiff
| File name: | 105807 - 2021-01-18-20-05-38
Background correction method used:
| Dark image number: | No dark image used
Size of analyzed image (x, y in px):
Symmetric auto-crop was enabled.
Mean outside ROI
Maximum smoothing method used for Aeff:
Cap fit 90%
Analytical model-beams fitted to the data:
| Model name | Round G.
| Vert. fit limit (rel.) | 0.5
Relative values (rel.) in GL (grey levels)
are defined with respect to the maximum used for the Aeff calculation.
Thus the absolute vertical fit limit depends slightly on the
maximum smoothing method chosen for the Aeff calculation.
If the Aeff max is taken from the fit, the vertical fit limit depends
on the max obtained by the method displayed on the combobox on tab2.